## DXN6_EDE
#Engineering-Data-Exchange - B.I.G.-EU
PROJECT_NAME
VERSION_OF_REFERENCEFILE
TIMESTAMP_OF_LAST_CHANGE | 2024-06-05
AUTHOR_OF_LAST_CHANGE | YABE Yet Another Bacnet Explorer
VERSION_OF_LAYOUT | 2.3
#mandatory | mandator | mandatory | mandatory | mandatory | optional | optional | optional | optional | optional | optional | optional | optional | optional | optional | optional
# keyname | device obj.-instance | object-name | object-type | object-instance | description | present-value-default | min-present-value | max-present-value | settable | supports COV | hi-limit | low-limit | state-text-reference | unit-code | vendor-specific-addres
OBJECT_DEVICE:127 | 127 | dynamx0000220223 | 8 | 127 | test
OBJECT_ANALOG_VALUE:0 | 127 | Y1H | 2 | 0 | Y1H
OBJECT_ANALOG_VALUE:1 | 127 | Y1C | 2 | 1 | Y1C
OBJECT_ANALOG_VALUE:2 | 127 | Vsh | 2 | 2 | Vsh
OBJECT_ANALOG_VALUE:3 | 127 | Vsc | 2 | 3 | Vsc
OBJECT_ANALOG_VALUE:4 | 127 | Tset | 2 | 4 | Tset
OBJECT_ANALOG_VALUE:5 | 127 | TsetCalc | 2 | 5 | TsetCalc
OBJECT_ANALOG_VALUE:6 | 127 | SetModif | 2 | 6 | SetModif
OBJECT_ANALOG_VALUE:7 | 127 | Tcoolmin | 2 | 7 | Tcoolmin
OBJECT_ANALOG_VALUE:8 | 127 | dPsh | 2 | 8 | dPsh
OBJECT_ANALOG_VALUE:9 | 127 | dPsc | 2 | 9 | dPsc
OBJECT_ANALOG_VALUE:10 | 127 | Energy Heat | 2 | 10 | Energy Heat
OBJECT_ANALOG_VALUE:11 | 127 | Energy Cool | 2 | 11 | Energy Cool
OBJECT_ANALOG_VALUE:12 | 127 | Troom | 2 | 12 | Troom
OBJECT_ANALOG_VALUE:13 | 127 | Tset Adj | 2 | 13 | Tset Adj
OBJECT_ANALOG_VALUE:14 | 127 | Test Reg | 2 | 14 | Test Reg
OBJECT_ANALOG_VALUE:15 | 127 | Command Reg | 2 | 15 | Command Reg
OBJECT_ANALOG_VALUE:16 | 127 | Y2 Digital | 2 | 16 | Y2 Digital
OBJECT_ANALOG_VALUE:17 | 127 | Vsmax h | 2 | 17 | Vsmax h
OBJECT_ANALOG_VALUE:18 | 127 | Vsmax c | 2 | 18 | Vsmax c
OBJECT_ANALOG_VALUE:19 | 127 | Water Mixture | 2 | 19 | Water Mixture
OBJECT_ANALOG_VALUE:20 | 127 | XM | 2 | 20 | XM
OBJECT_ANALOG_VALUE:21 | 127 | T1 Correction | 2 | 21 | T1 Correction
OBJECT_ANALOG_VALUE:22 | 127 | T2 Correction | 2 | 22 | T2 Correction
OBJECT_ANALOG_VALUE:23 | 127 | Temp Dead band | 2 | 23 | Temp Dead band
OBJECT_ANALOG_VALUE:24 | 127 | Temp db Night | 2 | 24 | Temp db Night
OBJECT_ANALOG_VALUE:25 | 127 | Window Open MinTemp | 2 | 25 | Window Open MinTemp
OBJECT_ANALOG_VALUE:26 | 127 | Window Open MaxTemp | 2 | 26 | Window Open MaxTemp
OBJECT_ANALOG_VALUE:27 | 127 | Prop band Heating | 2 | 27 | Prop band Heating
OBJECT_ANALOG_VALUE:28 | 127 | Prop band Cooling | 2 | 28 | Prop band Cooling
OBJECT_ANALOG_VALUE:29 | 127 | Integration Time | 2 | 29 | Integration Time
OBJECT_ANALOG_VALUE:30 | 127 | Power Consumption | 2 | 30 | Power Consumption
OBJECT_BINARY_VALUE:0 | 127 | Ctrl Sig | 5 | 0 | Ctrl Sig | [7 empty] | 0
OBJECT_BINARY_VALUE:1 | 127 | Meas Sig | 5 | 1 | Meas Sig | [7 empty] | 1
OBJECT_BINARY_VALUE:2 | 127 | Flush | 5 | 2 | Flush | [7 empty] | 2
OBJECT_BINARY_VALUE:3 | 127 | Port1Active | 5 | 3 | Port1Active | [7 empty] | 3
OBJECT_BINARY_VALUE:4 | 127 | Night Mode | 5 | 4 | Night Mode | [7 empty] | 4
OBJECT_BINARY_VALUE:5 | 127 | dPCalProc | 5 | 5 | dPCalProc | [7 empty] | 5
OBJECT_BINARY_VALUE:6 | 127 | DI1 Type | 5 | 6 | DI1 Type | [7 empty] | 6
OBJECT_BINARY_VALUE:7 | 127 | DI2 Type | 5 | 7 | DI2 Type | [7 empty] | 7
OBJECT_BINARY_VALUE:8 | 127 | T return | 5 | 8 | T return | [7 empty] | 8
OBJECT_BINARY_VALUE:9 | 127 | Open Loop | 5 | 9 | Open Loop | [7 empty] | 9
OBJECT_BINARY_VALUE:10 | 127 | CO Control | 5 | 10 | CO Control | [7 empty] | 10
OBJECT_BINARY_VALUE:11 | 127 | dP Cal Auto | 5 | 11 | dP Cal Auto | [7 empty] | 11
OBJECT_BINARY_VALUE:12 | 127 | Reboot | 5 | 12 | Reboot | [7 empty] | 12
OBJECT_BINARY_VALUE:13 | 127 | DI3 Type | 5 | 13 | DI3 Type | [7 empty] | 13
OBJECT_BINARY_VALUE:14 | 127 | X1 Mode | 5 | 14 | X1 Mode | [7 empty] | 14
OBJECT_BINARY_VALUE:15 | 127 | ObjectValuesMBbased | 5 | 15 | ObjectValuesMBbased | [7 empty] | 15
OBJECT_BINARY_VALUE:16 | 127 | Temp Unit | 5 | 16 | Temp Unit | [7 empty] | 16
OBJECT_BINARY_VALUE:17 | 127 | Frost Protection | 5 | 17 | Frost Protection | [7 empty] | 17
OBJECT_ANALOG_INPUT:0 | 127 | Vam | 0 | 0 | Vam
OBJECT_ANALOG_INPUT:1 | 127 | TAM 1 | 0 | 1 | TAM 1
OBJECT_ANALOG_INPUT:2 | 127 | TAM 2 | 0 | 2 | TAM 2
OBJECT_ANALOG_INPUT:3 | 127 | dP Meas | 0 | 3 | dP Meas
OBJECT_ANALOG_INPUT:4 | 127 | Text 1 | 0 | 4 | Text 1
OBJECT_ANALOG_INPUT:5 | 127 | Text 2 | 0 | 5 | Text 2
OBJECT_ANALOG_INPUT:6 | 127 | Y1 | 0 | 6 | Y1
OBJECT_ANALOG_INPUT:7 | 127 | Y2 | 0 | 7 | Y2
OBJECT_ANALOG_INPUT:8 | 127 | Warning | 0 | 8 | Warning
OBJECT_ANALOG_INPUT:9 | 127 | Error | 0 | 9 | Error
OBJECT_ANALOG_INPUT:10 | 127 | Warning 2 | 0 | 10 | Warning 2
OBJECT_ANALOG_INPUT:11 | 127 | Error 2 | 0 | 11 | Error 2
OBJECT_ANALOG_INPUT:12 | 127 | Vr | 0 | 12 | Vr
OBJECT_BINARY_INPUT:0 | 127 | DI1 State | 3 | 0 | DI1 State | [7 empty] | 18
OBJECT_BINARY_INPUT:1 | 127 | DI2 State | 3 | 1 | DI2 State | [7 empty] | 19
OBJECT_BINARY_INPUT:2 | 127 | DI3 State | 3 | 2 | DI3 State | [7 empty] | 20
OBJECT_MULTI_STATE_VALUE:0 | 127 | SysType | 19 | 0 | SysType
OBJECT_MULTI_STATE_VALUE:1 | 127 | ClimStatus | 19 | 1 | ClimStatus
OBJECT_MULTI_STATE_VALUE:2 | 127 | EndMode | 19 | 2 | EndMode
OBJECT_MULTI_STATE_VALUE:3 | 127 | 6WayFlush | 19 | 3 | 6WayFlush
OBJECT_MULTI_STATE_VALUE:4 | 127 | Ctrl Char | 19 | 4 | Ctrl Char
OBJECT_MULTI_STATE_VALUE:5 | 127 | DI1 Usage | 19 | 5 | DI1 Usage
OBJECT_MULTI_STATE_VALUE:6 | 127 | DI2 Usage | 19 | 6 | DI2 Usage
OBJECT_MULTI_STATE_VALUE:7 | 127 | Calstat | 19 | 7 | Calstat
OBJECT_MULTI_STATE_VALUE:8 | 127 | DI3 Usage | 19 | 8 | DI3 Usage
OBJECT_MULTI_STATE_VALUE:9 | 127 | T ext1 Usage | 19 | 9 | T ext1 Usage
OBJECT_MULTI_STATE_VALUE:10 | 127 | T ext2 Usage | 19 | 10 | T ext2 Usage
OBJECT_MULTI_STATE_VALUE:11 | 127 | X1 Type | 19 | 11 | X1 Type
OBJECT_MULTI_STATE_VALUE:12 | 127 | X1 Char | 19 | 12 | X1 Char
OBJECT_MULTI_STATE_VALUE:13 | 127 | Temp Control Type | 19 | 13 | Temp Control Type
OBJECT_ANALOG_OUTPUT:0 | 127 | X1 | 1 | 0 | X1
OBJECT_NETWORK_PORT:0 | 127 | MSTP PORT | 56 | 0 | MSTP PORT

## EBE_DXN6_StateTexts
#State Text Reference
#Reference Number | Text 1 or Inactive-Text | Text 2 or Active-Text | Text 3 | Text 4 | Text 5 | Text 6 | Text 7 | Text 8 | Text 9 | Text 10 | Text 11 | Text 12 | Text 13
0 | Analog | Digital
1 | Analog | Digital
2 | No Flush | Flush Active
3 | Port1 Inactive | Port1 Active
4 | Disabled | Enabled
5 | Inactive | Active
6 | Normally Closed | Normally Open
7 | Normally Closed | Normally Open
8 | Tam1 in Supply | Tam1 in Return
9 | No | Yes
10 | Manual | Automatic
11 | Inactive | Active
12 | Inactive | Reboot
13 | Normally Closed | Normally Open
14 | Analog | Digital
15 | Default MS Values | Modbus MS Values
16 | Celsius | Fahrenheit
17 | Disabled | Enabled
18 | Inactive | Active
19 | Inactive | Active
20 | Inactive | Active